VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions: by the tranches specified in Article 49(1)(a) of the special conditions.

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

NB! While preparing the financial offer, tenderers should consider the obligation of preparing and installing a construction info board according to the National legislation. Additionally, the tenderer should plan to purchase and instal a durable plaque clearly visible to the public, presenting the emblem of the European Union in accordance with the technical characteristics laid down in Annex IX of Regulation (EU) 2021/1060. The design of the construction info board and the plaque must be previously approved by the Contracting Authority!

| item | DECSRIPTION | Unit | Unit price EUR | Firm quantity | Total EUR |
| --- | --- | --- | --- | --- | --- |
| ARCHITECTURE |  |  |  |  |  |
| 1 | PREVIOUS WORKS |  |  |  |  |
| 1,1 | Clearing the terrain around an existing facility, to enable access to the facility and unhindered execution of future works, with the removal of waste material to a location determined by the investor. | lump sum |  | 1 |  |
| 1,2 | Dismantling of existing carpentry, with removal of waste material to a location determined by the investor. |  |  |  |  |
|  | external double door 180/220 cm | pieces |  | 1 |  |
|  | interior door 100/200,80/200,60/200 | pieces |  | 8 |  |
|  | external window 115/150,140/150,100/60,200/160,190/160 | pieces |  | 11 |  |
| 1,3 | Dismantling of existing floor (existing floor construction in all rooms) at level 0.00, with removal of waste material to a location determined by the investor. | m2 |  | 185,91 |  |
| 1,4 | Dismantling of existing plaster and reed ceilings in all rooms. With removal of waste material to a location determined by the investor. | m2 |  | 195,16 |  |
| 1,5 | Demolition of a stone wall with a height of 55 cm, above external doors and windows, with removal of the waste material to a location determined by the investor. | m3 |  | 7,29 |  |
| 1,6 | Removal of existing horizontal and vertical gutters with removal of waste material to a location determined by the investor. | м' |  | 90 |  |
|  | Total position PREVIOUS WORKS: |  |  |  |  |
| 2 | EARTH WORKS |  |  |  |  |
| 2,1 | Procurement, delivery, filling and compaction of a gravel base under a floor slab with a diameter of 40 cm | m3 |  | 74,36 |  |
|  | Total EARTH WORKS: |  |  |  |  |
| 3 | CONCRETE WORKS |  |  |  |  |
| 3,1 | Procurement, transportation of material and installation of a base of lean concrete MB20, with a thickness of d=7cm for waterproofing a floor slab. | m3 |  | 13,01 |  |
| 3,2 | Procurement, transportation of material and installation of a reinforced concrete floor slab with MB30 concrete, with a thickness of d=8cm | m3 |  | 14,87 |  |
| 3,3 | Procurement, transportation of material and installation of a lightweight substrate - cement screed with a thickness of d=5cm. | m3 |  | 9,30 |  |
| 3,4 | Production of concrete lintels and window lintels | m3 |  | 2,00 |  |
| 3,5 | Construction of concrete stairs with a landing in front of the entrance door to overcome a 35 cm difference in elevation for access from the outside to the ground floor. The position includes the installation of concrete and reinforcement along with the necessary formwork. | m3 |  | 1,00 |  |
|  | Total CONCRETE WORKS: |  |  |  |  |
| 4 | REINFORCEMENT WORKS |  |  |  |  |
| 4,1 | Procurement, cutting, bending and installation of steel reinforcement: RA 400/500-Q131 | kg |  | 700,00 |  |
|  | Total REINFORCEMENT WORKS: |  |  |  |  |
| 5 | INSULATOR WORKS |  |  |  |  |
| 5,1 | Production of horizontal waterproofing foil under floor slab at level +0.00 | m2 |  | 185,91 |  |
| 5,2 | Installation of horizontal thermal insulation made of extruded polystyrene with d=2cm | m2 |  | 185,91 |  |
|  | Total INSULATOR WORKS: |  |  |  |  |
| 6 | SHEET METAL WORKS |  |  |  |  |
| 6,1 | Production of horizontal gutters from flat plastic-coated sheet metal, 80cm diameter | m' |  | 74 |  |
| 6,2 | Production of vertical gutters from flat plastic-coated sheet metal, 80cm diameter | m' |  | 16 |  |
|  | Total SHEET METAL WORKS: |  |  |  |  |
| 7 | CERAMIC WORKS |  |  |  |  |
| 7,1 | Floor covering in existing restrooms with ceramic tiles, glued with tile adhesive on a cement screed. | m2 |  | 9,25 |  |
| 7,2 | Wall cladding with ceramic tiles, glued with tile adhesive to mortar in existing toilets. | m2 |  | 26,4 |  |
|  | Total CERAMIC WORKS: |  |  |  |  |
| 8 | LOCKSMITH WORKS |  |  |  |  |
| 8,1 | Production and installation of an external PVC double-leaf door in dark brown color with dimensions 180/220+50 | pieces |  | 1 |  |
| 8,2 | Production and installation of interior single-leaf MDF doors in white with dimensions: |  |  |  |  |
|  | 70/200 | pieces |  | 3 |  |
|  | 80/200 | pieces |  | 1 |  |
|  | 90/200 | pieces |  | 2 |  |
|  | 100/200 | pieces |  | 3 |  |
| 8,3 | Production and installation of a single-leaf PVC window with thermopane glass with dimensions: 100/60 | pieces |  | 1 |  |
| 8,4 | Production and installation of a double-leaf PVC window with insulated glass with dimensions: |  |  |  |  |
|  | 115/150 | pieces |  | 3 |  |
|  | 140/150 | pieces |  | 1 |  |
|  | 190/160 | pieces |  | 3 |  |
|  | 200/160 | pieces |  | 3 |  |
|  | Total LOCKSMITH WORKS: |  |  |  |  |
| 9 | FLOORS AND CEILINGS |  |  |  |  |
| 9,1 | Procurement, transportation and installation of laminate flooring d=12.5mm with a protective rubber coating, intended for medium and high frequency of movement on an elastic felt foil on a concrete base. | m2 |  | 185,91 |  |
| 9,2 | Procurement, transportation and installation of protective moldings made of MDF throughout the entire premises | m' |  | 127 |  |
| 9,3 | Procurement, transportation of material and installation of ship floor, d=25-30mm, in the memorial room. Complete with installation of planks on all fields above the wooden beam frame, gluing the ship floor planks and screwing them. | m' |  | 41,47 |  |
| 9,4 | Procurement, transportation and installation of brass transition strips, width = 3cm, for connecting different floors. | m' |  | 2 |  |
| 9,5 | For ceilings: Procurement, transportation and installation of gypsum cardboard ceiling panels made of metal profiles, with d=12mm, together with truss strips at the joints, along with the application of mesh and glue. | m2 |  | 195,16 |  |
|  | Total FLOORS AND CEILINGS: |  |  |  |  |
| 10 | PAINT WORKS |  |  |  |  |
| 10,1 | Plastering and painting of plaster on all interior walls and ceilings | m2 |  | 395 |  |
|  | Total PAINT WORKS: |  |  |  |  |
| 11 | FAÇADE WORKS |  |  |  |  |
| 11,1 | Procurement and transportation of material for the construction of a DEMIT facade (on the entire surface of the external walls of the existing facade) in the following way: The entire facade is coated with a "U" connection, adhesive in layers with a total thickness of 0.5 - 1 cm. Then, a polystyrene with a thickness of d = 8 cm is placed, which is attached to the facade with plastic wedges up to 15 cm in size, and 2-3 mm of adhesive is again coated on top of it. (base plaster) for the installation of a plasticized glass mesh (rabitz mesh 145g / m) on which a base plaster of 1-2 mm is applied, a plaster base (in the same color as the plaster) and finally the finishing layer, plaster with a granulation of 1.5 mm. (Abrib plaster in a color of the Investor's choice.) Facade scaffolding should also be provided. | m2 |  | 210 |  |
| 11,2 | Procurement and transportation of material for the manufacture of eaves in the following way: Styrodur with a thickness of d=3cm is placed on a substructure of wooden battens 3/5cm, it is coated with a "U" connection, adhesive in layers with a total thickness of 0.5 - 1cm. (base plaster) for the installation of plasticized glass mesh (rabbit mesh 145g / m) on which a base plaster of 1-2 mm is applied, a plaster base (in the same color as the plaster) and finally the finishing layer, plaster with a granulation of 1.5mm. (Abrib plaster in the same color as the facades attachment.) Facade scaffolding should also be foreseen. | m2 |  | 30 |  |
| 11,3 | Procurement, transportation of material and processing of facade plinth made of stone mineral wool d=5 cm and coefficient λD = 0.035 W/mK glued with polymer cement adhesive with all supporting elements and finishing with kulir plast. | m2 |  | 51 |  |
|  | Total FAÇADE WORKS: |  |  |  |  |

| ARCHITECTURE RECAPITULAR |  | Amount in EUR |
| --- | --- | --- |
| 1. | PREVIOUS WORKS |  |
| 2. | EARTH WORKS |  |
| 3. | CONCRETE WORKS |  |
| 4. | REINFORCEMENT WORKS |  |
| 5. | INSULATOR WORKS |  |
| 6. | SHEET METAL WORKS |  |
| 7. | CERAMIC WORKS |  |
| 8. | LOCKSMITH WORKS |  |
| 9. | FLOORS AND CEILINGS |  |
| 10. | PAINT WORKS |  |
| 11. | FAÇADE WORKS |  |
|  | Total: |  |
|  | VAT 18%: |  |
|  | Total lump-sum price (with VAT): |  |

Tenderer:

| Item | DECSRIPTION | Unit | Unit price EUR | Firm quantity | Total EUR |
| --- | --- | --- | --- | --- | --- |
| ELECTRICITY |  |  |  |  |  |
| 12 | DISTRIBUTION PANEL |  |  |  |  |
| 12,1 | Distribution cabinet РТ1 with the following equipment: Differential protection 40 A, 0.03 A, 4 p 1 pc. Automatic fuse B10 A, 6 kA 1p 4 pcs. Automatic fuse B16 A, 6 kA 1p 9 pcs. Signal lamps 3 p 1 pc. Other material in accordance with documentation | piece |  | 1 |  |
|  | Total DISTRIBUTION PANEL |  |  |  |  |
| 13 | LIGHTING |  |  |  |  |
| 13,1 | Ceiling lights E27 | piece |  | 2 |  |
| 13,2 | Ceiling lights with protective cap for toilets with motion sensor | piece |  | 4 |  |
| 13,3 | Lamp 60x60 of the investor's choice | piece |  | 20 |  |
| 13,4 | Wall lamps with protective cap | piece |  | 3 |  |
| 13,5 | Panic light | piece |  | 8 |  |
|  | Total LIGHTING |  |  |  |  |
| 14 | CONNECTORS AND SWITCHES |  |  |  |  |
| 14,1 | Single-phase shock socket 16 A | piece |  | 17 |  |
| 14,2 | Modular box consisting of two ordinary switches | piece |  | 2 |  |
| 14,3 | Modular box consisting of four ordinary switches | piece |  | 1 |  |
| 14,4 | Modular box consisting of two single-phase Schuko sockets, one RJ45 and one RG6 socket | piece |  | 1 |  |
| 14,5 | Ordinary switch | piece |  | 3 |  |
| 14,6 | Switch changed | piece |  | 1 |  |
|  | Total CONNECTORS AND SWITCHES |  |  |  |  |
| 15 | LIGHTNING ROD AND EARTHING ROD |  |  |  |  |
| 15,1 | FeZn strip 20x3 mm | m |  | 67 |  |
| 15,2 | FeZn strip 25x4 mm | m |  | 75 |  |
| 15,3 | Cross-section | m |  | 15 |  |
| 15,4 | Measuring box | piece |  | 4 |  |
| 15,5 | Gutter holder | piece |  | 2 |  |
| 15,6 | Roof rack | piece |  | 47 |  |
|  | Total LIGHTNING ROD AND EARTHING ROD |  |  |  |  |
| 16 | POWER CABLES |  |  |  |  |
| 16,1 | Cable NYY 5x10 mm2 | m |  | 50 |  |
| 16,2 | NYM cable 3x2.5 mm2 | m |  | 220 |  |
| 16,3 | Cable NYM 3x1.5 mm2 | m |  | 220 |  |
| 16,4 | Cable J-H(St)H FE180E90 2x2x0.8mm | m |  | 70 |  |
| 16,5 | RG6 cable | m |  | 5 |  |
| 16,6 | FTP cat6 cable | m |  | 5 |  |
|  | Total POWER CABLES |  |  |  |  |
| 17 | Fire-fighting PROTECTION |  |  |  |  |
| 17,1 | Analogue PP switchboard with all accompanying elements | piece |  | 1 |  |
| 17,2 | Optical smoke detector with stand | piece |  | 7 |  |
| 17,3 | Manual dialer | piece |  | 2 |  |
| 17,4 | Siren with flasher for indoor installation | piece |  | 2 |  |
| 17,5 | Main switch off button | piece |  | 1 |  |
|  | Total Fire-fighting PROTECTION |  |  |  |  |
| 18 | INSTALLATION TESTING |  |  |  |  |
| 18,1 | Testing of the entire high-voltage installation with issuance of a certificate | lump sum |  | 1 |  |
| 18,2 | Testing of the entire low-voltage installation with issuance of a certificate | lump sum |  | 1 |  |
| 18,3 | Earthing and lightning rod testing with issuance of a certificate | lump sum |  | 1 |  |
|  | Total INSTALLATION TESTING |  |  |  |  |
| 19 | OTHER |  |  |  |  |
| 19,1 | PVC pipe 25 mm flexible | m |  | 300 |  |
| 19,2 | PVC pipe 32 mm flexible | m |  | 100 |  |
|  | Total OTHER |  |  |  |  |

| RECAPITULAR ELECTRICITY |  | Amount in EUR |
| --- | --- | --- |
| 12 | DISTRIBUTION PANEL |  |
| 13 | LIGHTING |  |
| 14 | CONNECTORS AND SWITCHES |  |
| 15 | LIGHTNING ROD AND EARTHING ROD |  |
| 16 | POWER CABLES |  |
| 17 | Fire-fighting PROTECTION |  |
| 18 | INSTALLATION TESTING |  |
| 19 | OTHER |  |
|  | TOTAL |  |
|  | VAT18% |  |
|  | Total lump-sum price (with VAT) |  |

| TOTAL RECAPITULATION: |  |  |
| --- | --- | --- |
| 1 - 11. | ARCHITECTURE |  |
| 12 - 19. | ELECTRICITY |  |
| TOTAL |  |  |
| 18% VAT: |  |  |
| TOTAL WITH 18% VAT: |  |  |

Tenderer:

___________________________